*

*             <<<<<<<<  SWMM 4.3 RUNOFF DATA FILE >>>>>>>>>

*

* Note, this file last updated by WCH, 4/21/94.

*

*	This is an input data file to the SWMM 4.3 (beta) Runoff Block for

*       modeling watershed quantity and quality.  All lines with an

*       asterisk in column 1 are comment lines and are ignored

*       by the program.

*

*       Input data are free format and may be up to 230 columns wide.

*       You must have a value for every data column even if the program

*       will not actually use a given value.  A slash (/) may be used

*       to indicate that remaining fields should be filled with zeroes.

*       (See example for data group L1.)  A very common data input error is

*       to accidentally omit required parameters at the end of a data group.

*       There must be at least one space (or comma) between every input

*       value.

*

*       Caution!  Data lines that are "wrapped around" (continued on

*       two or more lines) should have a blank in column 1, unless a

*       card identifier is needed.

*

*       Alphanumeric data ($ANUM option) should be enclosed in single

*       quotes.  These include all references to subcatchment and

*       channel/pipe/inlet names.

*

*       In general, SWMM parameters with names that begin with the letters

*       I,J,K,L,M,N are integers (e.g., NSCRAT() ), following the usual

*       Fortran convention, and entered values must not include a

*       decimal point.

*

*       To avoid literary quotes being printed in output, use $NOQUOTE

*       after MM line.

*

*       SWMM uses both U.S. customary units and metric units.  The

*       examples use feet, cfs, acres, inches, inches/hour, and miles/hr.

*       If metric is specified substitute meters, cms, hectares,

*       millimeters, millimeters/hour, and km/hr.

*============================================================================

*	The SW card sets up the interface files to be used or created.

*	There is one output file (#9) which will contain the time series

*       of flows and pollutant loads for subsequent blocks.

*============================================================================

*  NBLOCK  JIN(1)  JOUT(1)

SW    1      0       9

*============================================================================

*   The MM card opens the scratch files to be used by different subroutines.

*   Up to 8 scratch files are required by the Runoff Block.

*============================================================================

*  NITCH  NSCRAT(1) NSCRAT(2) NSCRAT(3) NSCRAT(4) NSCRAT(5) NSCRAT(6) NSCRAT(7)

MM   8       1         2          3        10         11        12       13

*         NSCRAT(8)

14

*============================================================================

*     The @ command is used to permanently save an interface or

*     scratch file.  This line should be placed before the first SWMM

*     block call.  The format of the @ command is as follows:

*============================================================================

*Column 1    Unit number of the       Name of the interface

*            interface file saved     file (any valid DOS filename),

*            or utilized              including optional path.

*

@             9                       'RUNOFF.DNT'

*============================================================================

*Column 1

* $ANUM  ==> Use alphanumeric labels for subcatchment and channel/pipe

*            labels -- WHEREVER ENCOUNTERED AND IN ALL SUBSEQUENT BLOCKS.

*            Names (IDs) must be enclosed in single quotes.  A maximum length

*            of 6 characters for a label is recommended.  Longer names (max

*            of 8 characters) may not print out correctly but will

*            be input OK.

*============================================================================

*Column 1

* $NOQUOTE ==> Omit on-screen and printed literary quotations in SWMM output.

*============================================================================

$RUNOFF      Call the RUNOFF block with a '$' in first column.

*============================================================================

*	Create title lines for the simulation.  There are two title lines

*       for the Runoff Block.  Titles are enclosed in single quotes.

*============================================================================

*	A1 Line       :

*          Title      :  Two lines (both with A1 identifier) with heading

*                        to be printed on output.

*                        Each line has format A76 (76 characters, maximum).

*============================================================================

A1  'RUNOFF example: parabolic channels, groundwater, water quality'

A1  'Lake modeled as a wide parabolic channel with outlet weir'

*============================================================================

*	The 'B' lines are for program control purposes.

*============================================================================

*	B1 Line       :

*          METRIC     :  Metric input-output.

*                        = 0, Use U.S. customary units

*                        = 1, Use metric units.  Metric input indicated

*                             in brackets [] in remainder of this table.

*          ISNOW      :  Snowmelt parameter.

*                        = 0, Snowmelt not simulated.

*                        = 1, Single event snowmelt simulation.

*                        = 2, Continuous snowmelt simulation.

*          NRGAG      :  Number of hyetographs (rain gages),

*                        maximum of 10 hyetographs.

*          INFILM     :  Choice of infiltration equation

*                        = 0, Horton equation used.

*                        = 1, Green-Ampt equation used.

*          KWALTY     :  Quality (or erosion) simulated?

*                        = 0, No.

*                        = 1, Yes.

*          IVAP       :  Evaporation parameter

*                        = 0, Evaporation data not read in,

*                             default rate used of 0.1 in/day [2.5 mm/day].

*                        = 1, Read monthly evaporation data in Group F1

*                             in units of inch/day [mm/day].

*                        = 2, Read monthly evaporation data in Group F1

*                             in units of inch/month [mm/month].

*                        = 3, Read monthly evaporation data on lines

*                             F1 and F2,

*                             in units of inch/month [mm/month].

*                        = 4, Read evaporation time series on NSCRAT(3)

*                             file as created by the TEMP Block of SWMM.

*                     NOTE! If it is desired to have no (zero) evaporation

*                     during time steps when it is raining or snowing, input

*                     IVAP as a negative number, i.e., IVAP = -1, -2, -3

*                     or -4 instead of a positive number.  This option can

*                     only be used if IVAP not equal to 0.  If IVAP < 0,

*                     there will be zero surface or subsurface evaporation

*                     during any time step with rain or snow on that

*                     subcatchment and zero evaporation from all channel/

*                     pipes if there is rain or snow on any subcatchment.

*                     Normal evaporation continues when precipitation = 0.

*

*          NHR        :  Hour of day of start of storm (24 hour clock,

*                        midnight = 00).

*          NMN        :  Minute of hour of start of storm (0 - 59).

*          NDAY       :  Day of month of start of simulation ( 1 - 31).

*          MONTH      :  Month of start of simulation (1 - 12).

*          IYRSTR     :  Year of start of simulation (0 - 99).

*============================================================================

*  METRIC ISNOW NRGAG INFILM KWALTY IVAP NHR NMN NDAY MONTH IYRSTR

B1   0      0    1     1      1      1   00   0   1    10     89

*============================================================================

*	B2 Line       :

*          IPRN(1)    :  Print control for SWMM input.

*                        = 0, Print all input data.

*                        = 1, Do not print channel/pipe, snowmelt,

*                        subcatchment, or quality data, only control

*                        information is printed.

*                        = K, where K equals possible combinations of

*                        channel/pipe(2), snowmelt(3), subcatchment(4),

*                        or water quality(5).  For example:

*                        Channel/pipe + subcatchment would be 24,

*                        Channel/pipe + subcatchment + quality would be 245.

*          IPRN(2)    :  Print control for Runoff Block graphs.

*                        = 0, Plot all graphs.

*                        = 1, Do not plot hyetograph(s) (for each gage),

*                             or inlet hydrograph (sum of all inlets).

*          IPRN(3)    :  Print control for output of SWMM.  'Totals'

*                        below refer to precipitation, runoff and all

*                        quality parameters.  Done for each inlet.  Daily,

*                        monthly, and yearly printouts only function if

*                        simulation is long enough.

*                        = 0, Do not print daily, monthly, or yearly totals.

*                        = 1, Monthly and annual totals only, one year

*                             per page.

*                        = 2, Daily, monthly and annual totals, two months

*                             per page.  Daily totals are printed whenever

*                             there is non-zero precipitation and/or runoff.

*

*              The following parameter is truly optional and may

*              be omitted from line B2 without an error.

*

*          IRPNGW        = 0, Print up to 10,000 ground water routine error

*                             messages.

*                        > 0, Print limit of IPRNGW ground water routine

*                             error messages.

*============================================================================

*   IPRN(1) IPRN(2) IPRN(3)  IRPNGW

B2     0       0       1

*============================================================================

*	B3 Line       :

*          WET        :  Wet time step (seconds). WET must be => 1 second.

*                        Typical: 60-300-900 sec for event simulation; 900

*                        or 3600 sec for continuous simulation.  WET time

*                        step is used only during time steps with precip.

*          WETDRY     :  Transition (no rain but water on surface or in

*                        channels) between wet and dry time step (seconds).

*                        WETDRY is used during 1) residual overland flow

*                        (no precipitation), 2) residual channel/pipe flow,

*                        3) snowmelt, 4) groundwater outflow to channel/

*                        pipes.  WETDRY should be greater than or equal

*                        to WET and less than or equal to DRY.

*                        Typical: = WET for event simulation; 3600 - 7200

*                        for continuous simulation.

*                        Note, decrease WETDRY toward WET for better

*                        resolution and lower continuity errors, but at

*                        the expense of greater computer time during

*                        continuous simulation.

*          DRY        :  Dry time step (seconds).  DRY must be greater

*                        than or equal to WET.  Typical: = WET for event

*                        simulation; 7200 - 86400 sec for continuous

*                        simulation.  DRY time step principally affects

*                        groundwater ET and deep percolation and residual

*                        surface evaporation and infiltration.

*

*        Note: DRY and WETDRY time steps are only approximated during

*        time intervals with no precipitation.  Thus, print-outs may

*        occur at intervals that do not correspond exactly to DRY

*        or WETDRY.

*

*          LUNIT      :  Units of LONG (simulation length).

*                        = 0, seconds.    = 1, minutes.

*                        = 2, hours.      = 3, days.

*                        = 4, ending date, a six figure number

*                          (yr/mo/dy), e.g. 870730.

*          LONG       :  Simulation length (units from LUNIT).

*============================================================================

*                                SIMULATION LENGTH OF 10 DAYS

*    WET    WET/DRY  DRY    LUNIT LONG

B3   600.   1200.0   7200.   3     6.0

*============================================================================

*   B4 is an optional data group.  The B4 data group is used only when the

*    user desires to modify one of SWMM's subcatchment default parameters.

*============================================================================

*	B4 Line       :

*          PCTZER     :  Percent of impervious area with zero detention

*                        (immediate runoff).

*          REGEN      :  For continuous SWMM, infiltration capacity is

*                        regenerated using a Horton type exponential rate

*                        constant equal to REGEN*DECAY, where DECAY is the

*                        Horton rate constant read in for each subcatchment in

*                        group H1.  Not required for Green-Ampt infiltration.

*============================================================================

*             Use line C1 to input general snow input data.

*              If ISNOW = 0 in group B1, skip to group D1.

*============================================================================

*	C1 Line       :

*          ELEV       :  Average watershed elevation, ft, msl [m, msl].

*          FWFRAC(1)  :  Ratio of free water holding capacity to snow depth

*                        (in. or mm w.e.= water equivalent) on snow

*                        covered impervious area.

*          FWFRAC(2)  :  Ratio of free water holding capacity to snow depth

*                        (in. or mm w.e.) on snow covered pervious area.

*============================================================================

*     Note:  The following parameters are required only for ISNOW=2.

*============================================================================

*          FWFRAC(3)  :  Ratio of free water holding capacity to snow depth

*                        (in. or mm w.e.) for snow on normally bare

*                        impervious area.

*          SNOTMP     :  Dividing temperature between snow and rain,

*                        F [C].  Precipitation occurring at air

*                        temperatures above this value will be rain,

*                        at or below will be snow.

*          SCF        :  Snow gage catch correction factor.

*                        Snow depths computed from NWS precipitation tape

*                        will be multiplied by this value.

*          TIPM       :  Weight used to compute antecedent temperature index,

*                        0 <= TIPM <= 1.0.  Low values (e.g., 0.1) give

*                        more weight to past temperatures.  Values > 0.5

*                        essentially give weight to temperatures only

*                        during the past day.

*          RNM        :  Ratio of negative melt coefficient to melt

*                        coefficient.  "Negative melt coefficient" is used

*                        when snow is warming or cooling below the base melt

*                        temperature without producing liquid melt.  RNM is

*                        usually <= 1.0 with a typical value of 0.6.

*          ANGLAT     :  Average latitude of watershed, degrees north.

*          DTLONG     :  Longitude correction, standard time minus

*                        mean solar time, minutes (of time).

*============================================================================

*   Use line C2 to input average Monthly Wind Speeds.  Enter pairs of values

*   (month number, wind speed) only for months with potential snow

*   melt.  Enter values for months in any order.  Months not entered

*   are assumed to have zero wind.

*============================================================================

*	C2 Line       :

*          NUMB       :  Enter number of months with wind speed data.

*                        (Maximum = 12)

*                        [NOTE. Option on page 69 of User's Manual to

*                        set NUMB = 999 to indicate NOAA wind data is

*                        not valid.  Use ISNOW=2 to indicate use of

*                        NOAA data on NSCRAT(3) from Temp Block.]

*          MONTH      :  Integer number of first month.

*          WIND(MONTH):  Average wind speed for first month, mi/hr [km/hr].

*              .                         .

*          MONTH      :  Integer number of last month.

*          WIND(MONTH):  Average wind speed for last month, mi/hr [km/hr].

*============================================================================

*     Use line C3 to input Areal Depletion Curve for Impervious Area.

*              IF ISNOW=1 IN GROUP B1, SKIP TO DATA GROUP C5.

*============================================================================

*	C3 Line       :

*          ADCI(1)    :  Fraction of area covered by snow (ASC) at "zero+"

*                        ratio of snow depth to depth at 100 percent

*                        cover (AWESI).

*          ADCI(2)    :  Value of ASC for AWESI = 0.1.

*          ADCI(3)    :  Value of ASC for AWESI = 0.2.

*             .                        .

*          ADCI(9)    :  Value of ASC for AWESI = 0.8.

*          ADCI(10)   :  Value of ASC for AWESI = 0.9.

*  Note:  Program automatically assigns value of ADCI=1.0 when AWESI = 1.0.

*============================================================================

*     Use the C4 line to define an Areal Depletion Curve for Pervious Area.

*============================================================================

*	C4 Line       :

*          ADCP(1)    :  Fraction of area covered by snow (ASC) at "zero+"

*                        ratio of snow depth to depth at 100 percent cover

*                        (AWESI).

*          ADCP(2)    :  Value of ASC for AWESI = 0.1.

*          ADCP(3)    :  Value of ASC for AWESI = 0.2.

*            .                         .

*          ADCP(9)    :  Value of ASC for AWESI = 0.8.

*          ADCP(10)   :  Value of ASC for AWESI = 0.9.

*  Note: Program automatically assigns value of ADCP = 1.0 when AWESI = 1.0.

*============================================================================

*     READ GROUP C5 ONLY IF ISNOW = 1.  SKIP TO GROUP D1 IF ISNOW = 2.

*

*        For ISNOW = 2 (continuous SWMM), air temperatures are entered

*   in the Temp Block.  For ISNOW = 1, read an air temperature for each

*   time interval DTAIR, for a total of NAIRT values.  (Maximum number

*   of values = 200.  If more are needed, use ISNOW = 2 option.)  DTAIR,

*   the time step of air temperatures, is not necessarily equal to the

*   time steps entered on data group B1.  Air temperatures are considered

*   constant over the air time step.

*============================================================================

*	C5 Line       :

*          DTAIR      :  Time interval for input of air temperatures,

*                        hours.  First line only.

*          NAIRT      :  Number of air temperatures read.  First line only.

*          TAIR(1)    :  Air temperature during time interval 1, F [C].

*            .                              .

*          TAIR(NAIRT):  Air temperature during time interval NAIRT, F [C].

*============================================================================

*        Line D1 is the first rainfall control line.

*============================================================================

*	D1 Line       :

*          ROPT       :  Precipitation input option.

*                        = 0, Read NRGAG hyetographs on E1, E2 and E3

*                        data groups.  (Rain data can be saved permanently

*                        on NSCRAT(1) using the @ function.)

*                        = 1, Read processed precipitation file on NSCRAT(1)

*                        file [not JIN!].  This file is either from the Rain

*                        Block (earlier saved JOUT file) or from a previous

*                        run of the Runoff Block (earlier saved NSCRAT(1)

*                        file).  Unless blocks are run as part of a single

*                        overall SWMM run, access to earlier saved files is

*                        through the @ function described at the beginning

*                        of this file.

*============================================================================

*     ROPT

D1       0

*============================================================================

*        Line E1 is the second rainfall control line.

*============================================================================

*	E1 Line     :

*          KTYPE    :  Type of precipitation input.  Precipitation

*                      is in units of in./hr [mm/hr] for THISTO minutes or

*                      hours.  Use variable KTIME to select units of time.

*                      = 0, Read KINC precipitation values per line.

*                      = 1, Read KINC time and precipitation pairs per line.

*                      = 2, Read time and NRGAG precipitation values per line.

*          KINC     :  Number of precipitation values or time/precipitation

*                      pairs per line.  Enter any number if KTYPE = 2.

*          KPRINT   :  Print control for precipitation input.

*                      = 0, Print all precipitation input.

*                      = 1, Suppress all but summary of precipitation input.

*          KTHIS    :  Variable THISTO option.  Data input on E2 lines.

*                      = 0, precipitation interval (THISTO) is constant.

*                      = K, where K is the number of variable precipitation

*                           intervals entered on the E2 data group lines.

*                      Precipitation values outside the time frame

*                      of any variable rainfall interval uses THISTO

*                      as the precipitation interval.

*          KTIME    :  Precipitation time units.

*                      = 0, time in minutes.

*                      = 1, time in hours.

*          KPREP    :  Precipitation unit type.

*                      = 0, intensity, in./hr [mm/hr].

*                      = 1, total precipitation volume over

*                           the interval, in. [mm]

*          NHISTO   :  Number of data points for each hyetograph.

*          THISTO   :  Time interval between values (and duration of

*                      precipitation value), units of KTIME.

*          TZRAIN   :  Initial time of day of precipitation input, units

*                      of KTIME.  Added to times entered in groups E2

*                      and E3.  (If first time entered in groups E2

*                      and/or E3 is 0.0, TZRAIN will ordinarily correspond

*                      to time of start of storm entered on group B1.)

*============================================================================

* KTYPE KINC KPRINT KTHIS KTIME KPREP NHISTO THISTO TZRAIN

E1  1    1     0      0     1     1     24     1.0    0.0

*============================================================================

*       Line E2 lists the variable rainfall interval information.

*  Required only if KTHIS > 0.  Enter variable precipitation intervals,

*  10 per line for a total of KTHIS intervals.  This data group is used

*  to interleave rainfall records of differing intervals, for example, a

*  period of 5 minute rainfall between periods of 15 minute rainfall.

*============================================================================

*	E2 Line     :

*     WTHIS(1,1)    :  Start time for first variable precipitation

*                      interval.  Units of KTIME.

*     WTHIS(1,2)    :  End time for first variable precipitation

*                      interval.  Units of KTIME.

*     WTHIS(1,3)    :  Length of THISTO for the first precipitation

*                      interval.  Units of KTIME.

*           .                      .

*     WTHIS(KTHIS,1):  Start time for last variable precipitation

*                      interval.  Units of KTIME.

*     WTHIS(KTHIS,2):  End time for last variable precipitation

*                      interval.  Units of KTIME.

*     WTHIS(KTHIS,3):  Length of THISTO for the last precipitation

*                      interval.  Units of KTIME.

*============================================================================

*      Use line E3 to input precipitation input.  Input is a function

*                  of the parameter KTYPE on data group E1.

*

*  Note:  If ISNOW = 1, snowfall during a time step may be entered as

*         a negative value.  Units are in. [mm] water equivalent/hr.

*============================================================================

*                  Precipitation input if KTYPE = 0.

*

*          KINC precipitation values per line, up to NHISTO values.

*           Repeat group E3 for each hyetograph, up to NRGAG times.

*============================================================================

*	E3 Line     :

*        RAIN(1)    :  Rainfall intensity, first interval, in./hr [mm/hr].

*          .                           .

*        RAIN(KINC) :  Rainfall intensity, last interval per line,

*                      in./hr [mm/hr].

*============================================================================

*                  Precipitation input if KTYPE = 1.

*

*           Read KINC pairs per line, up to NHISTO values.

*       Repeat group E3 for each hyetograph, up to NRGAG times.

*============================================================================

*	E3 Line     :

*     REIN(1)       :  Time of first precipitation.  Units of KTIME.

*     REIN(2)       :  Precipitation in./hr [mm/hr], for first interval.

*         .                           .

*     REIN(2*KINC-1):  Time of last precipitation.  Units of KTIME.

*     REIN(2*KINC)  :  Precipitation for last interval, in./hr [mm/hr].

*============================================================================

*                  Precipitation input if KTYPE = 2.

*

*      Read NRGAG precipitation values per line.  Repeat NHISTO times.

*============================================================================

*	E3 Line     :

*     REIN(1)       :  Time of precipitation.  Units of KTIME.

*     REIN(2)       :  Precipitation, first raingage, in./hr [mm/hr].

*         .                         .

*     REIN(NRGAG+1) :  Precipitation, last raingage, in./hr [mm/hr].

*============================================================================

*  STEP-FUNCTION HYETOGRAPH

*  TIME=REIN(1)  RAIN=REIN(2)

E3    0.0           0.5

E3    1.0           1.0

E3    2.0           0.2

E3   10.0           0.4

E3   11.0           0.2

E3   20.0           0.1

E3   21.0           0.2

E3   22.0           0.3

E3   23.0           0.1

E3   30.0           1.5

E3   40.0           0.2

E3   41.0           0.2

E3   42.0           0.2

E3   50.0           2.0

E3   60.0           0.5

E3   61.0           0.4

E3   63.0           0.2

E3   64.0           0.1

E3  120.0           0.2

E3  121.0           0.3

E3  122.0           0.4

E3  123.0           0.2

E3  124.0           0.1

E3  125.0           0.1

*============================================================================

*   Use the F1 line to input evaporation data if IVAP = 1 on group B1.

*============================================================================

*	F1 Line    :

*   Note, units depend on value of IVAP.  This example is for IVAP = 1.

*          VAP(1)  :  Evaporation rate for month 1 (January)

*                     in./day [mm/day].

*            .                      .

*          VAP(12) :  Evaporation rate for month 12 (December)

*                     in./day [mm/day].

*============================================================================

*  EVAPORATION DATA

F1 0.1 0.2 0.2 0.2 0.3 0.4 0.5 0.5 0.4 0.3 0.2 0.1

*============================================================================

*   Use the F1 and F2 lines to input evaporation data if

*                              IVAP = 3 on data group B1.

*============================================================================

*    F1  line :

*                Only for IVAP = 3:

*    NVAP(1)  : Start year of evaporation data (2-digit integer)

*    NVAP(2)  : Number of months of evaporation data to be

*               entered (maximum = 600).  First month must be for January.

*                          NVAP(1)                              NVAP(2)

*F1                              80                                  120

*============================================================================

*

* Line F2:  Read 12 monthly values per line to a maximum of 600 values.

*     #1     #2    #3    #4    #5    #6    #7    #8    #9   #10  #11  #12

*F2   1.0    2.0   3.0   4.0   5.0   6.0   6.0   5.0   4.0   3.0  2.0  1.0

*F2   1.0    2.0   3.0   4.0   5.0   6.0   6.0   5.0   4.0   3.0  2.0  1.0

*F2   1.0    2.0   3.0   4.0   5.0   6.0   6.0   5.0   4.0   3.0  2.0  1.0

*F2   1.0    2.0   3.0   4.0   5.0   6.0   6.0   5.0   4.0   3.0  2.0  1.0

*F2   1.0    2.0   3.0   4.0   5.0   6.0   6.0   5.0   4.0   3.0  2.0  1.0

*F2   1.0    2.0   3.0   4.0   5.0   6.0   6.0   5.0   4.0   3.0  2.0  1.0

*F2   1.0    2.0   3.0   4.0   5.0   6.0   6.0   5.0   4.0   3.0  2.0  1.0

*F2   1.0    2.0   3.0   4.0   5.0   6.0   6.0   5.0   4.0   3.0  2.0  1.0

*F2   1.0    2.0   3.0   4.0   5.0   6.0   6.0   5.0   4.0   3.0  2.0  1.0

*F2   1.0    2.0   3.0   4.0   5.0   6.0   6.0   5.0   4.0   3.0  2.0  1.0

*===========================================================================

* Rainfall-Dependent Infiltration/Inflow (RDII or I/I) Data, Lines F3 and F4.

*              New, 9/4/93.  Chuck Moore

*              Camp, Dresser and McKee, Inc., Annandale, VA

*

*  These lines, plus H5 lines, define triangular unit hydrographs (UH)

*  to compute subcatchment I/I response from rainfall record on NSCRAT(1).

*  The response is computed before the time step simulation and stored on

*  NSCRAT(8) (required if this I/I procedure is used).

*  An initial abstraction of up to DSTORE in [mm] is subtracted from

*  rainfall before computing rainfall excess at each time step.  The

*  initial abstraction is regenerated during dry weather at a rate of

*  DREC in/day [mm/day].

*  Up to five sets of three triangular UHs may be input in the F4 lines.

*  Any subcatchment may use a fraction (defined on H5 lines) of flow

*  produced from each of three UHs selected from any of the up to

*  five sets input on the F4 lines.

*

*  The triangles are defined by TP = time to peak and K = ratio of recession

*  limb to TP, so that the time base = TP*(1+K).  Peak flow, Qp, is then

*  calculated in the program so that the volume (area) of the triangle =

*  1 cfs/ac-in or 1 cms/ha-mm.

*

*  Three triangles may be used (all starting at the same time) so that

*  one may define a fast response, one a delayed response, and one a

*  lengthy response, if desired.

*

*  The time step TSTEP (UH duration) must equal the rainfall time

*  step (THISTO).  Rainfall can be input on the E-lines as usual, or

*  rainfall already stored on NSCRAT(1) may be used, i.e., from prior

*  Runoff or Rain Block runs.

*  Time step TSTEP2 is the time step used for computation of the UH

*  response and should be an integer fraction of (or equal to) TSTEP.

*  TSTEP2 = WET time step in the Runoff Block is a good idea.

*  There is a limit of 300 UH points for a given rainfall increment.  An

*  error message is printed if this is exceeded, which can be caused by

*  too long a time base and too short a value of TSTEP2.

*  The RDII routine is designed to be compatible with the variable time

*  step used in the Runoff Block.  Values of I/I are linearly interpolated

*  from the file on NSCRAT(8) at each time during the simulation.

*

*  H5 lines may be entered only for desired subcatchments.

*  If quality is simulated, constant concentrations for I/I are entered

*  on data line J6.

*

*==========================================================================

*  Lines F3 and F4 are optional and may be omitted.

*

*   F3 Line : Line identifier

*   IIRDII  : = 0, compute new I/I response from rainfall and

*                  store on NSCRAT(8).

*             = 1, use I/I response already calculated during previous

*                  run.  (NSCRAT(8) must be defined on @-line)

*   TSTEP   : Time interval for rainfall, hr.  (Must equal value from

*             E-lines or from Rain Block.)  TSTEP is the duration of

*             each of the three UHs.

*   TSTEP2  : Time step for computation of I/I response, hr.  Must be

*             equal to or integer fraction of TSTEP.

*==========================================================================

* IIRDII  RAINFALL TIME STEP (hr)    RDII TIME STEP (hr)

F3  0         1.0                       0.25

*==========================================================================

*   Enter up to five F4 lines, with identifier.

*

*   F4 Line : Line identifier

*   NRDHYET : Number of hyetograph (rain gage) to use for these

*             triangular UHs.

*   RDIIT   : Time to peak of triangular UH, hr.

*   RDIIK   : Ratio of recession limb to time to peak.

*   DSTORE  : Maximum initial abstraction, to compute rainfall excess for

*             UH, in. [mm].

*   STORAGE : Initial storage (max = DSTORE), in. [mm].

*   DREC    : Recovery rate for storage (initial abstraction) during dry

*             time steps, in./day [mm/day].

*=========================================================================

*REPEAT F4 FOR UP TO 5 SETS OF I/I BASE RESPONSE CURVES

* NNRDHYET RDIIK  STORAGE   etc.

*    RDIIT    DSTORE   DREC   etc.

F4 1  1.0  2.0 0.1 0.1 0.05   3.0 2.0 0.1 0.1 0.05    10.0 2.0 1.1 0.1 0.05

*  slower response

F4 1  2.0  2.0 0.1 0.1 0.05   4.0 2.0 0.1 0.1 0.05    15.0 2.0 1.1 0.1 0.05

*  even slower response

F4 1  4.0  2.0 0.1 0.1 0.05   5.0 2.0 0.1 0.1 0.05    20.0 2.0 1.1 0.1 0.05

*============================================================================

*                 Enter Channel/Pipe data on line G1.

*

*        Channel/pipe data: one line per channel/pipe (if none, leave out).

*  Maximum number of channels or pipes plus inlets is defined by parameter

*  NG on the 'TAPES.INC' common.  An inlet is any location identified by NGTO

*  on a G1 or H1 line that is not listed in group G1 as a channel or pipe.

*  All inlets (and only these inlets) are saved on the output interface

*  file, if JOUT > 0.

*

*  Note:  Variables with asterisks can be modified using the Default/Ratio

*  option.  A -1 entered for NAMEG means non-zero entries for data with

*  asterisks are ratios, by which subsequent entries for those parameters

*  will be multiplied.  E.g., enter a ratio of 1.2 to increase all

*  parameters by 20%.  A -2 entered for NAMEG means non-zero entries for

*  data with asterisks are default values.  If a data line has a zero for

*  a parameter for which a default value has been defined, the parameter

*  is assigned this value.  As many ratio and default lines may be inserted

*  as desired within a data group.  Of course, if the alphanumeric option

*  is being used, the -1 or -2 should be enclosed in single quotes, e.g.,

*  '-1' or '-2'.

*============================================================================

*	G1 Line      :

*        NAMEG       :  Channel/pipe number or name.

*        NGTO        :  Channel/pipe or inlet number or name for drainage.

*        NPG=NP      :  Type of channel or pipe.

*                       = 1 for trapezoidal channel,

*                       = 2 for circular pipe,

*                       = 3 for dummy channel/pipe, inflow = outflow,

*                       = 4 for parabolic channel,

*                       = 5 for trapezoidal channel with weir or orifice

*                          (follow with G2 data group),

*                       = 6 for circular pipe with weir or orifice

*                          (follow with G2 data group), and

*                       = 7 for parabolic channel with weir or orifice

*                          (follow with G2 data group).

*============================================================================

*           The following parameters are not used if NP = 3.

*============================================================================

*        GWIDTH*   :  Bottom width of trapezoidal channel, diameter.

*                     of pipe, or top width of parabolic channel, ft [m].

*        GLEN*     :  Length of channel/pipe, ft [m].

*        G3*       :  Invert slope, ft/ft (dimensionless).

*        GS1       :  Left-hand side slope, ft/ft.  (Slope = horiz./vert.).

*        GS2       :  Right-hand side slope, ft/ft.

*        G6*       :  Manning's roughness coefficient.

*        DFULL*    :  Depth of channel when full, ft [m].

*                     (N.R. if NP equals 2, 3, or 6)

*        GDEPTH*   :  Starting depth of pipe/channel, ft [m].

*============================================================================

*   CHANNEL 20 - CIRCULAR PIPE

*   CHANNEL 30 - TRAPEZOIDAL CHANEL

*   CHANNEL  1 - PARABOLIC CHANNEL

*   CHANNEL  2 - LAKE (PARABOLIC) CHANNEL WITH WEIR

*  NAMEG NGTO NPG  GWIDTH GLEN  G3    GS1   GS2  G6  DFULL  GDEPTH

*G1 -1    0    0    0      0.8   0    0     0    0     0     0

*G1 -2    0    0    0       0    0    0     0   0.020  0     0

G1  20    2    2    3.0   1000. 0.01 0.00  0.00 0.020  0.0  0.0

G1  30    2    1   10.0    500. 0.01 5.00  4.00 0.030  8.0  0.0

G1  1     2    4   20.0   5000. 0.01 0.00  0.00 0.020 10.0  0.0

G1  2     3    7  500.0   2000. 0.01 0.00  0.00 0.020 10.0  3.0

*============================================================================

*                Enter control structure data on line G2.

*

*  Note:  A G2 data group must follow a G1 line if NPG is greater than 4.

*  Then continue with further G1 lines and/or G1-G2 pairs.

*============================================================================

*	G2 Line    :

*        WTYPE     :  Type of weir/orifice,

*                     = 0, Broad or narrow crested weir,

*                     = 1, V-notched weir, or

*                     = 2, Orifice.

*        WELEV     :  Elevation of weir (bottom of notch for V-notch) or

*                     of orifice centerline, referenced to bottom of

*                     channel/pipe, ft [m].

*        WDIS      :  Discharge coefficient of the weir or orifice

*                     (parameter C in equations 4-5, 4-6, 4-7).  Units

*                     for equations 4-5 or 4-6: ft1/2/sec [m1/2/sec].

*                     Parameter Cd in equation 4-7 is dimensionless.

*        SPILL     :  Weir length (e.g., width of spillway) for a broad

*                     or narrow crested weir, ft [m].  The angle (degrees)

*                     of the notch for a V-notch weir.  The cross

*                     sectional area of the outflow orifice, ft2 [m2].

*============================================================================

*  WTYE WELEV  WDIS SPILL

G2  0    3.0    3.3  10.0

*============================================================================

*    Enter Subcatchment Data on line H1.  Repeat for each subcatchment

*                (Maximum of NW different subcatchments).

*

*          Note:  Variables with asterisks can be modified using

*          the Default/Ratio option.  If any of H2-H5 lines follow for

*          this subcatchment, must have a non-ratio/default line follow

*          this ratio/default line.  That is, cannot have H1 ratio/default

*          line followed immediately by H2 or H5 line.

*============================================================================

*	H1 Line    :

*        JK        :  Hyetograph number (based on the order

*                     in which they are input, in Group E3).

*        NAMEW     :  Subcatchment number or name.

*        NGTO      :  Channel/pipe or inlet (manhole) number for drainage.

*        WW(1)*    :  Width of subcatchment, ft [m].

*                     This term actually refers to the physical width of

*                     overland flow in the subcatchment and may be estimated

*                     as illustrated in the text or by ratio of subcatchment

*                     area to average length of overland flow.

*        WAREA*    :  Area of subcatchment, acres [ha].

*        WW(3)*    :  Percent imperviousness of subcatchment,

*                     (percent hydraulically effective or directly

*                      connected impervious area).

*        WSLOPE*   :  Ground slope, ft/ft (dimensionless).

*        WW(5)*    :  Impervious area Manning's roughness.

*        WW(6)*    :  Pervious area Manning's roughness.

*        WSTORE1*  :  Impervious area depression storage, in. [mm].

*        WSTORE2*  :  Pervious area depression storage, in. [mm].

*============================================================================

*        Last three parameters on line H1 if Horton equation

*                   is used, INFILM = 0 on data group B1.

*============================================================================

*        WLMAX*    :  Maximum initial infiltration rate, in./hr [mm/hr].

*        WLMIN*    :  Minimum (asymptotic) infiltration rate, in./hr [mm/hr].

*        DECAY*    :  Decay rate of infiltration in Horton's equation, 1/sec.

*============================================================================

*        Last three parameters on line H1 if Green-Ampt equation

*                   is used, INFILM = 1 on group B1.

*============================================================================

*        SUCT*     :  Average capillary suction, in. [mm] of water.

*        HYDCON*   :  Saturated hydraulic conductivity of soil,

*                     in./hr [mm/hr].

*        SMDMAX*   :  Initial moisture deficit for soil, volume

*                       air/volume voids (fraction).

*============================================================================

*  =====> SURFACE WATER DATA

*  JK  NAMEW  NGTO  WIDTH  AREA    %IMP  SLP   IMPN    PERVN   IDS    PDS    SUCT HYDCON SMDMAX

H1  1   100    1     100.0   300.    20.0 .001   .04    .30      .05   .10    4.00   1.00  .34

*============================================================================

*         Input Groundwater Subcatchment Data on lines H2, H3 and H4.

*

*   Data groups H2, H3, and H4 describe the groundwater portion of the

*   subcatchment.  They should follow the correct H1 data group line.  There

*   are a maximum of NGW subcatchments with groundwater simulation allowed.

*

*     Note:  Variables with asterisks can be modified using the

*     the Default/Ratio option.  Indicator variable is NMSUB.  Be sure

*     to include all three H2-H4 lines if entering Default/Ratio data.

*============================================================================

*	H2 Line    :

*        NMSUB     :  Subsurface subcatchment indicator variable,

*                     must be same as preceding NAMEW on H1 line.

*        NGWGW     :  Number or name of inlet, channel or pipe for

*                     subsurface drainage.  Does not have to be the

*                     same as preceding NGTO for surface runoff.

*        ISFPF     :  Indicator variable for saving soil moisture,

*                     water table elevation and outflow for printing.

*                     = 0, do not save subsurface information, or

*                     = 1, save subsurface information for printing.

*        ISFGF     :  Indicator variable for saving soil moisture,

*                     water table elvation and outflow for graphing.

*                     = 0, do not save subsurface information, or

*                     = 1, save subsurface information for graphing.

*============================================================================

*        Note:  See Figure X-1 for definition of elevation variables.

*============================================================================

*        BELEV*    :  Elevation of bottom of water table aquifer, ft [m].

*        GRELEV*   :  Elevation of ground surface, ft [m].

*        STG*      :  Elevation of initial water table stage, ft [m].

*        BC*       :  Elevation of channel bottom or threshold stage

*                     for groundwater flow, ft [m].

*        TW*       :  Channel water influence parameter

*                     >= BC, average elevation of water in channel

*                        or pipe over run, ft [m] or,

*                     < 0, (e.g., -1) channel water influence will be

*                     determined by depth in channel or pipe at the end

*                     of the previous time step.

*============================================================================

*  GROUNDWATER DATA

*  NMSUB NGWGW ISFPF ISFGF BELEV GRELEV STG   BC   TW

H2  100   1     1      0    0.0   20.0  5.00 5.00 5.00

*============================================================================

*        Input Groundwater Flow Coefficients And Exponents from

*                 (Equations X-24 and X-25) on line H3.

*============================================================================

*	H3 Line    :

*        A1*       :  Groundwater flow coefficient, in/hr-ft^B1 [mm/hr-m^B1].

*        B1*       :  Groundwater flow exponent, dimensionless.

*        A2*       :  Coefficient for channel water influence,

*                     in/hr-ft^B2 [mm/hr-m^B2].

*        B2*       :  Exponent for channel water influence, dimensionless.

*        A3*       :  Coefficient for the cross product between groundwater

*                     flow and channel water, in/hr-ft^2 [mm/hr-m^2].

*        POR*      :  Porosity expressed as a fraction.

*        WP*       :  Wilting point expressed as a fraction.

*        FC*       :  Field capacity expressed as a fraction.

*        HKSAT*    :  Saturated hydraulic conductivity, in./hr [mm/hr].

*        TH1*      :  Initial upper zone moisture expressed as a fraction.

*============================================================================

*  A1      B1   A2  B2  A3  POR  WP  FC  HKSAT  TH1

H3 4.5E-5 2.6  0.0  1.0 0.0 .46 .15  .30 5.0    .301

*============================================================================

*                   Input more groundwater parameters on line H4.

*============================================================================

*	H4 Line    :

*        HCO*      :  Hydraulic conductivity vs. moisture content

*                     curve-fitting parameter (Eqn. X-21), dimensionless.

*        PCO*      :  Average slope of tension versus soil

*                     soil moisture curve (see Figures X-2, X-3 and

*                     X-4), ft/fraction [m/fraction].

*        CET*      :  Fraction of maximum ET rate assigned to the upper zone.

*        DP*       :  Coefficient for unquantified losses,

*                     (Eqn. X-23), in./hr [mm/hr].

*        DET*      :  Maximum depth over which significant lower zone

*                       transpiration occurs, ft [m].

*============================================================================

*  HCO  PCO   CET  DP     DET

H4  10.  15.  0.35 2.E-03 14.0

*============================================================================

*   Define subcatchment response to infiltration/inflow on H5 line.

*   See explanation of F3 and F4 lines for additional detail.

*

*   Any desired subcatchment may define response parameters.  Generated I/I

*   will enter in channel/pipe or inlet NGTO.  The sewered area defined on

*   the H5 line is used, not the subcatchment area.  The response is defined

*   as a fraction RDIIR from each of the three triangular UHs defined on

*   one of the F4 lines.  The fractions do not have to sum to 1.0.

*============================================================================

*  Input H5 line only for a subcatchment for which I/I response is desired.

*  Lines H1-H5 follow in groups.  Do not "cluster" all H5 lines together.

*

*  H5 Line  : Line identifer

*  SEWAREA  : Sewered area, ac [ha]

*  RDIIR(1) : Fraction of first UH response toward total I/I response.

*  RDIIR(2) : Fraction of second UH response toward total I/I response.

*  RDIIR(3) : Fraction of third UH response toward total I/I response.

*  ICURVE   : Indicator for which set of three UHs to use, from sequence

*             of F4 lines.  (E.g., if ICURVE = 2, use second set for

*             this subcatchment.)

*============================================================================

*   SEWAREA RDIIR1 RDIIR2 RDIIR3 ICURVE

H5    100  0.03333 0.03333  0.0    1

*============================================================================

*  Additional subcatchments with no subsurface data or I/I data.

*  JK  NAMEW  NGTO  WIDTH  AREA    %IMP  SLP   IMPN    PERVN   IDS    PDS    SUCT HYDCON SMDMAX

H1  1   200    20    50.0   100.    30.0 .001   .04    .30      .05   .10    3.00   1.00  .34

H1  1   300    30   150.0   400.    10.0 .002   .04    .30      .05   .10    4.00   0.50  .34

*============================================================================

*   Enter Subcatchment Snow Input Data on data groups I1 and I2 (if modeled).

*============================================================================

*

*                Note: If ISNOW = 0, skip to group J1.

*                      If ISNOW = 1, read only group I1.

*                      If ISNOW = 2, read both groups I1 and I2, in pairs.

*

*        Order of subcatchments must be same as in group H1, and there

*   must be snow data group(s) for each H1 line.   All snow-depth related

*   parameters refer to depth of snow water equivalent (w.e.).

*

*                Note:  Variables with asterisks can be modified

*                       using the Default/Ratio option.

*============================================================================

*	I1 Line    :

*      JK1         :  Subcatchment number or name.  Must correspond to NAMEW

*                     entered in Group H1.

*      SNN1        :  Fraction of impervious area with 100 percent

*                     snow cover (ISNOW = 1) or subject to areal

*                     depletion curve (ISNOW = 2).

*      SNCP(N)     :  Fraction of pervious area subject to 100 percent

*                     snow cover (ISNOW = 1).  N.R. if ISNOW = 2.

*      WSNOW(N,1)  :  Initial snow depth of impervious area that is

*                     normally snow covered, in. water equivalent

*                     [mm w.e.]

*      WSNOW(N,2)  :  Initial snow depth on pervious area,

*                     in. w.e. [mm w.e.].

*      FW(N,1)     :  Initial free water on snow covered impervious

*                     area, in. [mm].

*      FW(N,2)     :  Initial free water on snow covered pervious

*                     area, in. [mm].

*      DHMAX(N,1)* :  Melt coefficient (ISNOW = 1) or maximum melt

*                     coefficient, occurring on June 21 (ISNOW = 2)

*                     for snow covered impervious area,

*                     in. w.e./hr-F [mm w.e./hr-C].

*      DHMAX(N,2)* :  Melt coefficient (ISNOW = 1) or maximum melt

*                     coefficient, occurring on June 21 (ISNOW = 2)

*                     for snow covered pervious area,

*                     in. w.e./hr-F [mm w.e./hr-C].

*      TBASE(N,1)* :  Snow melt base temperature for snow covered

*                     impervious area, F [C].

*      TBASE N,2)* :  Snow melt base temperature for snow covered

*                     pervious area, F [C].

*============================================================================

*     Enter Subcatchment Snow Input Data on data group I2 if ISNOW = 2.

*============================================================================

*	I2 Line    :

*      JK2         :  Subcatchment number or name.  Must correspond to JK1

*                     on Line I1 and NAMEW in Group H1.

*      WSNOW(N,3)  :  Initial snow depth on impervious area that is

*                     normally bare, in. [mm].

*      FW(N,3)     :  Initial free water on impervious area that is

*                     normally bare, in. [mm].

*      DHMAX(N,3)* :  Maximum melt coefficient occurring on June 21,

*                     for snow on normally bare impervious area,

*                     in. w.e./hr-F [mm w.e./hr-C].

*      TBASE(N,3)* :  Snow melt base temperature for normally bare

*                     impervious area, F [C].

*      DHMIN(N,1)* :  Minimum melt coefficient occurring on December 21

*                     for snow covered impervious area, in. w.e./hr-F

*                     [mm w.e./hr-C].

*      DHMIN(N,2)* :  Minimum melt coefficient occurring on December 21

*                     for snow covered pervious area, in. w.e./hr-F

*                     [mm w.e./hr-C].

*      DHMIN(N,3)* :  Minimum melt coefficient occurring on December 21

*                     for snow on normally bare impervious area,

*                     in. w.e./hr-F [mm w.e./hr-C].

*      SI(N,1)*    :  Snow depth above which there is 100 percent cover

*                     on snow covered impervious areas, in. [mm] w.e.

*      SI(N,2)*    :  Snow depth above which there is 100 percent cover

*                     on snow covered pervious areas, in. [mm] w.e.

*      WEPLOW(N)   :  Redistribution (plowing) depth on normally bare

*                     impervious area, in. [mm] w.e.  Snow above this

*                     depth redistributed according to fractions below.

*

*  Note:  Redistribution (plowing) fractions (see Figure 4-25).  Snow above

*         WEPLOW in. [mm] w.e. on normally bare impervious area will be

*         transferred to area(s) indicated below.  The five fractions should

*         sum to 1.0.

*

*      SFRAC(N,1)  :  Fraction transferred to snow covered impervious area.

*      SFRAC(N,2)  :  Fraction transferred to snow covered pervious area.

*      SFRAC(N,3)  :  Fraction transferred to snow covered pervious area

*                     in last catchment.

*      SFRAC(N,4)  :  Fraction transferred out of watershed.

*      SFRAC(N,5)  :  Fraction converted to immediate melt on

*                     normally bare impervious area.

*============================================================================

*          IF KWALTY = 0 on data group B1 skip to data group M1.

*###########################################################################

*            Optional input of multiple land uses per subcatchment.

*

*            IMUL is a variable to trigger multiple land uses

*            per subcatchment.   Any value > 0 will cause the

*            model to use JLAND land uses per subcatchment.

*            CAUTION: IMUL > 0 requires input on L2 lines

*            for each subcatchment, even if JLAND = 1.

*            ALSO, if IMUL > 0 and JLAND > 1, read JLAND J3 lines

*            for each constituent.

*   IMUL

JJ     1

*############################################################################

*             Enter General Quality Control on data group J1.

*============================================================================

*	J1 Line    :

*      NQS         :  Number of quality constituents maximum = 10.  Must

*                     have 1 < NQS <= 9 if erosion is simulated (IROS = 1).

*      JLAND       :  Number of land uses (Max of 5).

*      IROS        :  Erosion simulation parameter

*                     = 0, Erosion not simulated.

*                     = 1, Erosion of suspended solids simulated using

*                     the Universal Soil Loss Equation.  Parameters input

*                     in Group K1.  Output will be last quality constituent

*                     (i.e., constituent NQS+1).

*      IROSAD      :  Option to add erosion constituent to constituent

*                     number IROSAD.  E.g., if IROSAD = 3, erosion will

*                     be added to constituent 3 (perhaps suspended solids).

*                     No addition if IROSAD = 0.  N.R. if IROS = 0.

*      DRYDAY      :  Number of dry days prior to start of storm.

*      CBVOL       :  Average individual catchbasin storage volume, ft3 [m3].

*      DRYBSN      :  Dry days required to recharge catchbasin concentrations

*                     to initial values (CBFACT on group J3).  Must be > 0.

*      RAINIT      :  For erosion, highest average 30-minute rainfall

*                     intensity during the year (continuous SWMM) or during

*                     the storm (single event), in./hr [mm/hr].

*                     N.R. if IROS = 0.

*

*             The next three parameters are for modeling street sweeping.

*      KLNBGN and KLNEND are only used if the simulation is greater

*      than one month.

*

*      REFFDD      :  Street sweeping efficiency (removal)

*                     fraction) for "dust and dirt."

*      KLNBGN      :  Day of year on which street sweeping

*                     begins (e.g. March 1 = 60).

*      KLNEND      :  Day of year on which street sweeping

*                     stops (e.g. Nov. 30 = 334)

*============================================================================

*  NQS JLAND IROS IROSAD DRYDRY CBVOL DRYBSN RAINIT REFFDD KLNBGN KLNEND

J1  2    2    1     0     5.00   2.0  1.00   0.30   0.50     0      0

*============================================================================

*        Enter JLAND (from data group J1) Land Use data lines.  One line for

*    each land use (MINIMUM = 1, MAXIMUM = 5) .  Land use 1 will be that

*    of first group, land use 2 will be that of the second group etc.

*

*                Note:  Variables with asterisks can be modified

*                       using the Default/Ratio option.

*============================================================================

*	J2 Line    :

*       LNAME(J)   :  Name of Land use.

*       METHOD(J)  :  Buildup equation type for 'dust and dirt'(see text).

*                     = -2, New default values,

*                     = -1, New ratios,

*                     =  0, Power-linear,

*                     =  1, Exponential,

*                     =  2, Michaelis - Menten.

*      JACGUT(J)   :  Functional dependence of buildup parameters.

*                     = 0, Function of subcatchment gutter length,

*                     = 1, Function of subcatchment area,

*                     = 2, Constant.

*

*      Following are up to three buildup parameters. (See Table 4-16).

*

*      DDLIM(J)*   :  Limiting buildup quantity.

*      DDPOW(J)*   :  Power or exponent.

*      DDFACT(J)*  :  Coefficient.

*

*      Following are three street sweeping parameters.

*

*      CLFREQ(J)*  :  Cleaning interval, days.

*      AVSWP(J)*   :  Availability factor, fraction

*      DSLCL(J)*   :  Days since last cleaning, DSLCL <= CLFREQ

*============================================================================

*    LNAME    METHOD JACGUT  DDLIM  DDPOW  DDFACT  CLFREQ AVSWP DSLCL

J2 'SINGLE'    0       0    1.E04   1.0    10.0     30.0   0.80  15.0

J2 'MULTPL'    0       1    5.E04   1.5    50.0      7.0   0.80   5.0

*============================================================================

*        Enter data for quality constituent(s) on data group J3.  Repeat for

*   each constituent, total of NQS groups. (Maximum = 10).  Constituent 1

*   will be that of the first line constituent 2 that of the second line, etc.

*

*        If IMUL > 0 (line JJ) and JLAND > 1, then read JLAND J3 lines for

*   each constituent.  I.e., read JLAND lines for constituent 1, followed by

*   JLAND lines for constituent 2, etc.  In this case, each constituent

*   can have different J3 parameters for each land use.  These different

*   parameters will be used on each land use fraction for each subcatchment,

*   as defined in data group L2.

*

*                Note:  Variables with asterisks can be modified

*                       using the Default/Ratio option.

*============================================================================

*	J3 Line    :

*      PNAME(K)    :  Constituent name.

*      PUNIT(K)    :  Constituent units.

*      NDIM(K)     :  Type of units.

*                     = 0, mg/l

*                     = 1, "Other" per liter, e.g., MPN/l or ug/l

*                     = 2, Other concentration units, e.g., pH, JTU

*      KALC(K)     :  Type of buildup calculation.

*                     = 0, Buildup is fraction of "dust and dirt"

*                          for each land use.

*                     = 1, Power-linear constituent buildup

*                     = 2, Exponential constituent buildup

*                     = 3, Michaelis-Menten constituent buildup

*                     = 4, No buildup required (with KWASH = 1)

*      KWASH(K)    :  Type of washoff calculation

*                     = 0, Power-exponential

*                     = 1, Rating curve, no upper limit

*                     = 2, Rating curve, upper limit by buildup equation

*      KACGUT(K)   :  Functional dependence of buildup

*                     parameters.  N.R. for KALC = 0 or 4.

*                     = 0, Function of subcatchment gutter length

*                     = 1, Function of subcatchment area

*                     = 2, Constant

*      LINKUP(K)   :  Linkage to snowmelt. N.R. if ISNOW = 0 or KALC = 4.

*                     = 0, No linkage to snow parameters

*                     = 1, Constituent buildup during dry weather only when

*                     snow is present on impervious surface of subcatchment.

*

*      Following are up to five buildup parameters

*                 (see text and Tables 4-17, 4-18).

*

*      QFACT(1,K)* :  First buildup parameter, e.g., limit.

*      QFACT(2,K)* :  Second buildup parameter, e.g., power or exponent.

*      QFACT(3,K)* :  Third buildup parameter, e.g. coefficient.

*      QFACT(4,K)* :  Fourth buildup parameter, N.R. if KALC > 0

*                     or JLAND < 4.

*      QFACT(5,K)* :  Fifth buildup parameter, N.R., if KALC > 0

*                     or JLAND < 5.

*

*      Following are two washoff or rating curve parameters.

*

*      WASHPO(K)*  :  Power (exponent) for runoff rate.

*      RCOEF(K)*   :  Coefficient.

*

*      CBFACT(K)*  :  Initial catchbasin concentration.

*                      (units according to NDIM).

*      CONCRN(K)*  :  Concentration in precipitation.

*                     (units according to NDIM).

*      REFF(K)*    :  Street sweeping efficiency (removal fraction)

*                     for this constituent.

*============================================================================

*   PNAME    PUNIT  NDIM KALC KWASH KACGUT LINKUP QFACT1 QFACT2 QFACT3 QFACT4  QFACT5  WASHPO RCOEF CBFACT  CONCRN REFF

* Land use 1:

J3 'TOT.SOL' 'MG/L'  0    2     0     0      0     900.0    2.0   0.0     0.0    0.0      2.0   1.5   100.0    2.0   0.7

* Land use 2:

J3 'TOT.SOL' 'MG/L'  0    0     0     1      0      1000.   200.  0.0     0.0    0.0      2.0   1.5   150.0    2.0   0.7

* Land use 1:

J3 '  BOD5 ' 'MG/L'  0    1     0     0      0      60.0    1.5   0.3     0.0    0.0      2.0   1.2   20.0     0.1   0.5

* Land use 2:

J3 '  BOD5 ' 'MG/L'  0    0     0     1      0       200.    70.  0.0     0.0    0.0      2.0   1.2   30.0     0.1   0.5

*============================================================================

*      Enter data for fractional contributions from other constituents

*      on data group J4.  Repeat until all desired fractions are entered.

*============================================================================

*	J4 Line    :

*   KTO            :  Number (from order in Group J3) of constituent to

*                     which fraction will be added.

*   KFROM          :  Number of constituent from which fraction is computed.

*   F1(KTO,KFROM)  :  Fraction of constituent KFROM to be added

*                     to constituent KTO.

*                     [Note, these fractions will be applied for all

*                     land use segments if multiple land use option

*                     is used.]

*============================================================================

*    KTO KFROM    F1

J4     2     1  0.02

*============================================================================

*   In data group J5, enter a constant groundwater concentration for every

*   water quality constituent.  Same units as NDIM in data group J3.

*============================================================================

*    TS   BOD5

J5   5.0  0.1

*============================================================================

*   In data group J6, enter a constant infiltration/inflow concentration for

*   every water quality constituent.  Same units as NDIM in data group J3.

*   Required only if I/I option used (lines F3, F4, H5).  If omitted, I/I

*   is assumed to have zero concentrations.

*============================================================================

*    TS   BOD5

J6   50.0  0.05

*============================================================================

*               Enter Erosion Data on data group K1.

*

*           If IROS = 0 on data group J1, skip to group L1.

*

*   Note:   Repeat group K1 ONLY for each subcatchment that is subject

*           to erosion computations.  The order of lines is arbitrary,

*           but a match must be found of subcatchment number/name with a

*           value of NAMEW used in group H1.

*

*                Note:  Variables with asterisks can be modified

*                       using the Default/Ratio option.

*============================================================================

*	K1 Line    :

*      N=NAMEW     :  Subcatchment number or name matched with H1 line.

*      ERODAR*     :  Area of subcatchment subject to erosion, acres [ha].

*      ERLEN*      :  Flow distance in feet [meters] from point of

*                     origin of overland flow over erodible area to

*                     point at which runoff enters channel/pipe or inlet.

*      SOILF*      :  Soil factor 'K'.

*      CROPMF*     :  Cropping management factor 'C'.

*      CONTPF*     :  Control practice factor 'P'.

*============================================================================

*   EROSION DATA

*   NAMEW  ERODAR  ERLEN  SOILF  CROPMF  CONTPF

K1    100   30.0   300.0   0.43   1.0     1.0

K1    200    4.0   200.0   0.43   1.0     1.0

K1    300   20.0   300.0   0.33   1.0     1.0

*============================================================================

*        Enter Subcatchment Surface Quality data on data group L1.

*

*             One line for each subcatchment is required.  The order

*      is arbitrary, but a match must be found for each subcatchment

*      number (NAMEW) used earlier in group H1.

*

*                Note:  Variables with asterisks can be modified

*                       using the Default/Ratio option.

*============================================================================

*	L1 Line    :

*      N=NAMEW     :  Subcatchment number or name.

*      KL          :  Land use classification. 0 < KL < 5.  Numbers

*                     correspond to input sequence of Group J2.

*                     Note: default value for KL = 1.  If L2 lines are

*                     being used, still must enter a "representative"

*                     value for KL.  Fraction data on L2 line will

*                     over-ride value of KL.

*      BASINS(N)*  :  Number of catchbasins in subcatchment.

*      GQLEN(N)*   :  Total curb length within subcatchment hundreds

*                     of feet [km].  May not be required depending on

*                     method used to calculate constituent loadings

*                     (Groups J2 and J3).

*

*        The following initial constituent loading values may be input as an

*   alternative to computation of loadings via methods specified in groups

*   J2 and J3 (for initial conditions only).  For any non-zero values

*   read in, initial constituent loadings will be calculated simply by

*   multiplication of the value by the subcatchment area (or fractional area

*   if IMUL > 0 on line JJ).  (I.e., if a loading value is entered on

*   line L1, it will be apportioned over land uses with non-zero fractions.)

*   "Load" has units depending on value of NDIM (Group J3),

*   according to the following table:

*

*            NDIM           LOAD

*               0           pounds [kg]

*               1           106 x quantity, e.g. 106 MPN

*               2           106 x quantity x ft3,

*                               e.g. 106 pH-ft3.

*

*      PSHED(1,N)  :  Initial loading, first constituent,

*                     load/acre [load/ha].

*          .                  .

*      PSHED(10,N) :  Initial loading, tenth constituent,

*                     load/acre [load/ha].

*############################################################################

*  Note, line L1 below illustrates use of slash to fill in any needed

*  remaining zeros automatically.

*############################################################################

*    NAMEW  KL   BA     GQ  PSHED(1) PSHED(2)

L1    100    1  12.0   20.0   /

*============================================================================

*      L2 line  :

*

*      If required, this line immediately follows each L1 line.

*      Enter land use fractions for subcatchment on previous L1 line.

*      Not required if IMUL = 0 on line JJ (or line JJ omitted).

*

*      If IMUL > 0, an L2 line must follow each L1 line, even if JLAND = 1.

*      The fractions on line L2 must total to exactly 1.0 (tolerance = 0.001).

*

*      These fractions (PLAND) are used to multiply the subcatchment area

*      or curb length for all buildup calculations, depending on

*      parameters JACGUT (line J2) and/or KACGUT (line J3).

*      Similarly, if initial loads are input on line L1, the

*      quantity/area values will be multiplied by the fraction area

*      for each land use.  Thus, the quantity/area values in line L1 cannot

*      differentiate between different land uses.

*      Throughout the simulation, separate buildup and washoff parameters

*      will be used for each land use fraction, as input in the multiple

*      J3 lines.

*      If catchbasin quality information is entered, the total catchbasin

*      load for a subcatchment is the sum over the number of land uses of:

*      CBFACT*BASINS*CBVOL*PLAND.

*

*      Enter JLAND fractions.  Value 1 corresponds to land use 1, etc.

*

*      PLAND(1,N)  : Fraction of subcatchment N consisting of land use 1.

*      PLAND(2,N)  : Fraction of subcatchment N consisting of land use 2.

*       Etc.          Read JLAND values of PLAND.

*

*============================================================================

*        Single    Multiple

*        PLAND1    PLAND2

L2        0.7       0.3

*============================================================================

*  Additional L1/L2 lines.  Must enter L1/L2 pairs for each subcatchment.

L1    200    2  20.0   30.0   /

L2        0.2       0.8

L1    300    1   6.0   10.0   /

L2        1.0       0.0

*============================================================================

*      Enter data for Channel/Inlet Print Control on data group M1.

*============================================================================

*	M1 Line    :

*        NPRNT     :  Total number of channels/pipes/inlets for which

*                     non-zero flows (and concentrations) are

*                     to be printed (maximum = NG).

*        INTERV    :  Print Control.

*                     = 0, Print statistical summary only.

*                     = 1, Print every time step.

*                     = K, Print every K time steps.

*============================================================================

*  NPRNT  INTERV

M1     5     6

*============================================================================

*             IF NPRNT = 0 on line M1 SKIP groups M2 and M3.

*

*            Enter Print Period information on data group M2.

*============================================================================

*	M2 Line    :

*      NDET        :  Number of detailed printout periods.

*                     (Maximum of 10 periods.)

*

*  Note:  If NDET = 1 and STARTP(1) = 0 and STOPPR(1) = 0 then the

*            total simulation period will be printed as a default.

*

*      STARTP(1)   :  First starting printout date, year, month,

*                     day, e.g., October 2, 1949 = 491002.

*      STOPPR(1)   :  First stopping printout date.

*           .                .

*      STARTP(NDET):  Last starting date.

*      STOPPR(NDET):  Last stopping date.

*============================================================================

*  NDET  STARTP(1) STOPPR(1)

M2    1          0         0

*============================================================================

*        Enter channel/inlet printout locations on data group M3.

*============================================================================

*	M3 Line    :

*      IPRNT(1)    :  First channel/inlet numbers or name for which flows

*                     and concentrations are to be printed.

*           .                       .

*      IPRNT(NPRNT):  First channel/inlet numbers or name for which flows

*                     and concentrations are to be printed.

*

*   Note: INflows to channel/pipes are printed as the default option.  To

*   print the OUTflow from a channel/pipe, give the ID as a negative

*   number.  A channel/pipe may be listed with both a positive and negative

*   number.  The negative option is not available for alphanumeric labeling.

*============================================================================

*  IPRNT(1) ...              IPRNT(NRPNT)

M3    1      2      3     20     30

*============================================================================

*        Enter channel/pipe depth output locations on data group M4.

*        ****NOTE: M4 line is optional and may be omitted.****

*============================================================================

*	M4 Line    :

*      MDEEP       :  Number of depth locations for printout (max = NG).

*      KDEEP(1)    :  First conduit selected.

*           .               .

*      KDEEP(MDEEP):  Last conduit selected.

*============================================================================

*                     Select two conduits for depth printout

*   # of conduits     ...conduits

*           MDEEP     KDEEP(1)..KDEEP(2)

M4              2      1          2

*============================================================================

*               End your input data set with a $ENDPROGRAM.

$ENDPROGRAM